## Slide 1: Case Study service: Refurbishment equipment: refurbishment of COMPONENTS OF CW PUMP
EKA PRESS TECHNO SERVICES PVT. LTD.

## Slide 2: COOLING WATER PUMP
The worn out & damaged different components of CW Pump of 500 MW Thermal Power Plant are repaired by Refurbishment.

## Slide 3: before execution of job
Worn out & Damaged Impeller Casing of CW Pump

## Slide 4: before execution of job
Worn out & Damaged Impeller Casing of CW Pump

## Slide 5: before execution of job
Worn out & Damaged Impeller of CW Pump

## Slide 6: before execution of job
Worn out & Damaged Suction Bell Mouth of CW Pump

## Slide 7: before execution of job
Worn out & Damaged Shafts of CW Pump

## Slide 8: after execution of job
Damaged Impeller Casing of CW Pump have been repaired by Refurbishment Process

## Slide 9: after execution of job
Damaged Impeller of CW Pump have been repaired by Refurbishment Process

## Slide 10: after execution of job
Damaged Suction Bell Mouth of CW Pump have been repaired by Refurbishment Process

## Slide 11: after execution of job
Damaged Shafts of CW Pump have been repaired by Refurbishment Process

## Slide 12
THANK YOU