## Slide 1: Case Study service: COATING equipment: COATING of Y PIECE OF COAL MILL
EKA PRESS TECHNO SERVICES PVT. LTD.

## Slide 2: Y-PIECE OF COAL MILL
In a 250 MW thermal power station, the Y-piece is getting eroded very quickly due to coal dust in the coal mill area. This erosion can be repaired by Erosion Protection Coating.

## Slide 3: before application
Eroded Y-Piece of Coal Mill due to Coal Dust

## Slide 4: During application
HAR & Durotiles of Duromar are used to protect it from being eroded by Coal Dust

## Slide 5: after application
Eroded Y-Piece is cured after completing the Coating Application using HAR & Durotiles of Duromar

## Slide 6
THANK YOU